E.O. G-70-139

Hirt VCS-200 Vapor Recovery Performance Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: |  |

| TEST INFORMATION |
| --- |
| Hirt VCS-200 system configuration | integrated | non-integrated | Number of nozzles: |
| Pressure measuring device | incline manometer | digital manometer | mechanical gauge |
| Calibration date for pressure measuring device (must be within 90 days of the test) |  |
| Ending value for digital manometer drift test if applicable (must be 0.01 in. w.c. or less) |  |
| Dispenser number with magnehelic gauge |  |
| System vacuum when idle (magnehelic reading) |  |
| System vacuum when dispenser authorized but not while pumping (magnehelic reading) |  |

| VCS-200 PRESSURE TEST |
| --- |
| Test No. | 1 | 2 | 3 | 4 |
| Start time |  |  |  |  |
| Initial Pressure, inches of water column (in. w.c.) |  |  |  |  |
| Pressure at five minutes, in. w.c. |  |  |  |  |
| Pressure at ten minutes, in. w.c. |  |  |  |  |
| Pressure at fifteen minutes, in. w.c. |  |  |  |  |
| Pressure at twenty minutes, in. w.c. |  |  |  |  |
| Allowable minimum pressure, in. w.c. | 2.5 | 2.5 | 2.5 | 2.5 |
| Pass / Fail |  |  |  |  |

| VCS-200 LIQUID REMOVAL TEST |
| --- |
| Nozzle Number | Fuel Grade | Gas added to hose (100 ml) | Gallons dispensed | Time to dispense (sec.) | Dispensing rate G x 60 T | Gas drained after dispensing | Pass / Fail (> 2 ml = fail) |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________