TP-201.4

Dynamic Back Pressure Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: |  |

| TEST INFORMATION |
| --- |
| Phase II vapor recovery system executive order (as referenced on Permit to Operate) |  |
| Pressure measuring device | digital manometer | mechanical gauge |
| Calibration date for pressure measuring device (must be within 90 days of the test) |  |
| Ending value for digital manometer drift test if applicable (must be 0.01 in. w.c. or less) |  |
|  | Pass / Fail |
| Back pressure test assembly leak check (must decay < 0.2 in. w.c. in 5 min. at 50% of the scale of the assembly’s highest range) |  |

| BACK PRESSURE LIMITS (in. w.c.) BY EXECUTIVE ORDER FOR PRE-PHASE II EVR SYSTEMS |
| --- |
| G-70-52 (balance for AST & UST) & G-70-139 (Hirt VCS-200) | 0.15 @ 20 CFH | 0.45 @ 60 CFH | 0.95 @ 100 CFH |
| G-70-177 & 181 (Hirt VCS-400) |  | 0.50 @ 60 CFH |  |
| G-70-191 (Healy ORVR) |  | 0.50 @ 60 CFH |  |
| BACK PRESSURE LIMITS (in. w.c.) BY EXECUTIVE ORDER FOR PHASE II EVR SYSTEMS |
| VR-201 & 202 (Healy Phase II EVR) |  | 0.50 @ 60 CFH |  |
| VR-203 (VST balance Phase II EVR) |  | 0.35 @ 60 CFH | 0.62 @ 80 CFH |

| Nozzle Number |  | Fuel Grade |  | 20 CFH |  | 60 CFH |  | 80 CFH |  | 100 CFH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________

| Dispenser Number |  | Fuel Grade |  | 20 CFH |  | 60 CFH |  | 80 CFH |  | 100 CFH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________