E.O. VR-201/202

Vapor-to-Liquid (V/L) Volume Ratio Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | Franklin: |  |

| TEST INFORMATION |
| --- |
| Gas volume meter type (i.e., Roots meter or Tri-Tester) |  |
| Gas volume meter serial or identification number: |  |
| Tri-Tester software version, if applicable (must be version 2.01) |  |
| Calibration date for Gas volume meter (must be within 180 days of the test) |  |
| Gas volume meter correction factor, y (Roots meter) |  |
| Pre-test leak check for Roots meter: | Initial pressure: | 30 sec. pressure: | Pre-test leak check for Tri-tester: | Re-inflate in 30 sec. Yes No |
| Post-test leak check for Roots meter: | Initial pressure: | 30 sec. pressure: | Post-test leak check for Tri-tester: | Re-inflate in 30 sec. Yes No |

| Nozzle Number | Fuel Grade | Nozzle Model & Serial No. | Initial Dispenser Reading (gal.), Gi | Final Dispenser Reading (gal.), Gf | Total Gas Dispensed (gal.) | Time (sec) | Dispensing Rate (gal.) | Initial Meter Reading (ft3), Vi | Final Meter Reading (ft3), Vf | V/L | Pass/Fail (P/F) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ___________________________		Date:  ____________________

| Nozzle Number | Fuel Grade | Nozzle Model & Serial No. | Initial Dispenser Reading (gal.), Gi | Final Dispenser Reading (gal.), Gf | Total Gas Dispensed (gal.) | Time (sec) | Dispensing Rate (gal.) | Initial Meter Reading (ft3), Vi | Final Meter Reading (ft3), Vf | V/L | Pass/Fail (P/F) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

NOTE:	The V/L ratio shall be 0.95 to 1.15, measured at a flow rate between 6.0 – 10.0 gpm.  Any fueling point whose V/L ratio is determined to be at or below 0.80 shall be deemed defective and removed from service.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ___________________________		Date:  ____________________