E.O. VR-202

Veeder-Root In-Station Diagnostics Vapor Pressure Sensor Reference Test & Site Shutdown Test Report Form

| Permit Number: | Test Company: |
| --- | --- |
| Site Name: | Technician: |
| Site Address: | Certification Number | Expiration Date |
| City: | Zip: | District: |  |
| Date/Time of Test: | Veeder-Root: |  |

| VAPOR PRESSURE SENSOR UST PRESSURE TEST |
| --- |
| Calibration date for digital manometer (must be within 12 months of the test) |  |
| Ending value for digital manometer drift test (must be 0.01 in. w.c. or less) |  |
| Digital manometer ullage pressure, inches of water column (in. w.c.) |  |
| TLS console pressure sensor value, inches of water column (in. w.c.) |  |
| Is pressure value between -0.20 and +0.20 in. w.c.? |  |

| VAPOR PRESSURE SENSOR AMBIENT REFERENCE TEST1,2 |
| --- |
| Pressure sensor located at dispenser number(s) |  |
| Pressure sensor number |  |
| Non-calibrated pressure sensor value, inches of water column (in. w.c.) |  |
| Is pressure value between -0.20 and +0.20 in. w.c.? |  |

| SITE SHUTDOWN TEST3 |
| --- |
| Test Parameter | Test Result (Y/N) |
| Was power removed from the TLS-350 console? |  |
| Was power to the submersible pump(s) removed by the TLS-350? |  |
| Was power restored to TLS-350 console? |  |

COMMENTS (Include Description of Repairs Made)

NOTES:	1Valve must be returned to normal operating position after testing is completed.

2The ambient reference port cap must be in place after testing is completed.

3A certified Veeder-Root technician must perform this test.

I declare, under penalty of perjury under the laws of the state of California that based on information and belief formed after reasonable inquiry, the statements and information provided in this document are true, accurate, and complete.

Signature of Technician:  ________________________________	Date:  ____________________